Product Overview

SA33-E

SA33-E

Single Door  RFID Based Access Control

SA33-E is an Access Control Standalone Device with contact-less smart card and password verifications, which enables 3 verification modes (Card only, PIN only, and Card & PIN), and Tamper Alarm and Safety Mode to ensure maximum safety and flexibility. With Touch keypad with UV polished shell, 1 Relay output (optional) and 1 PUSH (low) output,1 door button Port and 1 doorbell Port, SA32 is simple but effective to use, its convenience and adaptability allows it to be well deployed in residential housing, offices and any other public facilities.

- Specifications:

1.1Technical parameters:

| NO | Item | Value |
| --- | --- | --- |
| 1 | Operating voltage | DC 12V±10% |
| 2 | Operating current | < 100mA |
| 3 | Dimensions | 120mm×78mm×22mm |
| 4 | Weight | 110g |
| 5 | Ambient temperature | 0 —60 |
| 6 | Relative humidity | 20%—80% |
| 7 | Storage | 1000users |
| 8 | Card type (alternative) Card reading distance | EM(ID) card(IC card for options) |
| 9 |  | 1－15CM |

  - Factory Default:

| Programming Password | 123456 | Common Access Password | None |
| --- | --- | --- | --- |
| Backlight | Auto (for options) | Relay Unlock output | 5 Seconds |
| W26 port | Input (for options) | Security mode | OFF |
| Open mode | Card or Access Password Access Password include Private Access Password (PIN) and Common Access Password |  |  |

  - Light and Sound indicates:   Light : red and green

| Light Description | Access control status |
| --- | --- |
| Red light flash every 1 sec （Slow flash） | Holding state |
| Red light is always ON | Programming state |
| Green light is always ON within Open time | Unlocking state |
| Green light flash every 0.5sec (Fast flash) | Pending further action |

Sound : buzz

| Description | I ndicates |
| --- | --- |
| 1 short buzz | Valid input |
| 3 short buzz | Invalid input |
| 1 long buzz | Program success |
| Continuous long buzz | Restoring factory programming passwords |

- Installations Guide

JP1 terminal:

| NO | Mark | Color | Function |
| --- | --- | --- | --- |
| 1 | +12 V | Red | Power+ |
| 2 | GND | Black | Power- |
| 3 | PUSH | BLUE | Low level output |
| 4 | OPEN | Yellow | Door Release |
| 5 | BELL | Grey | BELL |
| 6 | BELL | White | BELL |

JP2 terminal:

| NO | Mark | Color | Function | Remark |
| --- | --- | --- | --- | --- |
| 1 | +12V | Red | Power+ | For options |
| 2 | GND | Black | Power- |  |
| 3 | DATA0 | Green | WG DATA0 |  |
| 4 | DATA1 | White | WG DATA1 |  |
| 5 | NC | Brown | Relay NC output |  |
| 6 | COM | Blue | Relay Com output |  |
| 7 | NO | Purple | Relay NO output |  |

Wiring diagram:

R

emark:

If

let relay drive electric-

“-” poles.

lock, please connect a reverse diode with the lock’s “+” and

3.2

To reset to

Factory Progra mming Password (123456)

Step1

、

Turn off power and connect bin 2&3 of RST(S1)

。

Step2

、

Turn on power and buzzer gives 3 long buzz with green light flash fast

。

If need to set Manager Card, now read two empty cards first one as Manager Add Card and

Second one as Manager Delete Card with red light flashing and continuous short buzz .

Step3

、

Turn off power, disconnect bin2&3 and connect bin 1&2 of RST

。

3. Programming Guide

Step4、Turn on power again.

3.3 How to use Manager Card - M AC & MDC

To add a card user in standby mode:  read MAC  read new cards  read MAC

To delete a card user in standby mode: read MDC  read registered cards  read MDC

To delete all users in standby mode:  read MDC  read MAC  read MDC      Remark: User cards can be added or deleted continuously.

3.4 User ID No. explain

User ID is auto-generating 4-digit number started at 0001. The number increases with adding user one by one and ignores deleting user. Common Access Password has no ID.

3.5 How to change PIN (When open mode: card+ PIN)

#

After reading card and input corresponding PIN to open the door, within 5 seconds, long press  until the green  lights flash fast. and then input  new PIN   #   new PIN   # , new PIN changed successfully with a long buzz.